[image: image1.jpg]<A SIKYLINE

ViAariomn

geerormedical

A N D

S - < T 2N T I %l | %




FOI 143  V1.1  04 Nov 2011 

Fuelling Operating Procedure
Using a Trailer Tank

1. 
Park aircraft / helicopter a safe distance from fuel trailer.

2. 
Chock wheels and turn engines off

3. 
Confirm correct grade of fuel

4. 
Check fuel quality has been checked in the last 7 days

5. 
Check meter reading correct

6. 
Bond trailer tank to aircraft (bonding reel)

7. 
Fuel cock on

8. 
Check fuel in pump motor tank (diesel)

9. 
Set throttle to 50%

10. Flip decompression lever down (reset each pull)
11. Pull cord to start pump

12. Turn blue main fuel valve on at bottom of main tank

13. Zero meter

14. Extend hose to correct length

15. Remove Aircraft fuel cap

16. Dispense fuel – NB: not an auto stop nozzle
17. Refueller must hold nozzle at all times and not insert any blocks, 
clamps etc in nozzle to hold open

18. Release trigger and empty nozzle when complete before 
withdrawing nozzle from tank (to avoid spillage)

19. Replace fuel cap on aircraft tank

20. Replace hose ∞  and put nozzle in receptacle

21. Close blue main fuel valve
22. Switch pump off by closing throttle

23. Disconnect bonding clip and rewind bonding cable

24. Complete records – uplift meter and enter readings on clip 
board

No Smoking


No Use of Cellphones


Do not lock nozzle open
Fuel spills call Rescue Fire  021 107 6068

Any spillage costs morning tea for a week

